## Reqired Qty
No. | Name* | Unit | Internal Reference | Product Category
1 | 2C Shielded Cable (Belden) | Meter | Belden Cable | FIX_1
2 | 50*50 HDG (90 micron) Perforated Cable tray with 2mm Thickness 3M/Length | Meter | Cable Tray | FIX_1
3 | DC Cable (Black) | Meter | Cables | FIX_1
4 | DC Cable (Red) | Meter | Cables | FIX_1
5 | Jinko Extension Cable | EACH | Cables | University
6 | Riyadh Cables 1CX16 Sqmm Y/G | Meter | Cables | FIX_2
7 | Riyadh Cables 4CX16 Sqmm CU , XLPE , PVC 90deg | Meter | Cables | FIX_2
8 | Riyadh Cables 4CX25 Sqmm CU , XLPE , PVC 90deg | Meter | Cables | FIX_2
9 | 1'' EMT Pipe Elbow | Meter | Conduit | University
10 | 1.5" Flexible conduit | Meter | Conduit | FIX_1
11 | 1/2'' EMT Pipe | Meter | Conduit | FIX_2
12 | 1/2" Liquid Tight Conduit UV Rated | Meter | Conduit | FIX_1
13 | 3/4'' EMT Pipe | Meter | Conduit | University
14 | 10 Sqmm Earthing Cable for 12 KTL | Meter | Earthing | FIX_2
15 | 4 Sqmm Earthing cable | Meter | Earthing | FIX_1
16 | 6 Sqmm Earthing Cable (Y/G) | Meter | Earthing | FIX_1
17 | Inverter 12 KTL 380 V | EACH | Equipment | FIX_2
18 | Inverter 20 KTL 220 V | EACH | Equipment | FIX_2
19 | Inverter 50 KTL | EACH | Equipment | FIX_2
20 | Foundations (400*200*250mm L*W*H) | EACH | Foundation | FIX_1
21 | CT 1000 | EACH | Instrument | FIX_2
22 | CT 1200 | EACH | Instrument | FIX_2
23 | CT 1250 | EACH | Instrument | FIX_2
24 | CT 1500 | EACH | Instrument | FIX_2
25 | CT 1600 | EACH | Instrument | FIX_2
26 | CT 1800 | EACH | Instrument | FIX_2
27 | CT 2000 | EACH | Instrument | FIX_2
28 | CT 2500 | EACH | Instrument | FIX_2
29 | CT 3000 | EACH | Instrument | FIX_2
30 | CT 400 | EACH | Instrument | FIX_2
31 | CT 600 | EACH | Instrument | FIX_2
32 | CT 800 | EACH | Instrument | FIX_2
33 | PV Panel (585Wp) | EACH | Module | FIX_1
34 | PV Panel (620Wp) | EACH | Module | FIX_2
35 | SMDB 32A | EACH | Protection | FIX_2
36 | SMDB 63A | EACH | Protection | FIX_2
37 | SMDB 1000A | EACH | Protection | University
38 | SMDB 1250A | EACH | Protection | University
39 | SMDB 125A | EACH | Protection | University
40 | SMDB 1500A | EACH | Protection | University
41 | SMDB 250A | EACH | Protection | University
42 | SMDB 400A | EACH | Protection | University
43 | SMDB 500A | EACH | Protection | University
44 | SMDB 630A | EACH | Protection | University
45 | SMDB 800A | EACH | Protection | University